Solar Energy Training

Programme

The following subjects have been given during the training:

1.Book- 1

Solar Electric Systems for Africa

A Guide for Planning and Installing Solar Electric Systems in rural Africa - By Mark Hankins

2. Book- 2

Maintenance and operation of photovoltaic systems

Solar Technology Institute-Carbondale Colorado (U.S.A)

3. Solar Training Theory : Table of Contents

Chapter I :Fundamentals of Solar Energy

The Solar Resource

Converting Solar Energy

Solar Radiation Principles

Direct and Diffuse Radiation

Chapter II : Solar Energy Principles and Non-Solar Electric Applications

Common Use of Solar Thermal Energy

Concentrating Solar Energy

Trapping Solar Energy

Tracking and Tilting Solar Devices

Solar Crop Driers

Solar Water Heaters

Solar Cookers

Energy Quality and Efficiency

chapter III : An Overview of Solar Electric Technology

Common Uses of Photovoltaics

Advantages and Disadvantages of Solar Electricity

Basic low Voltage electric Concepts

Solar PV System basics

Chapter IV : Solar Cell Modules

Soar Cell and the Photo-electric Effect

Solar Cell Technology

Solar Cell Modules and Arrays

Output of Solar Cell Modules

Choosing Solar Cell Modules

Chapter V : Batteries

Energy Storage

General Points about Batteries

Battery Principles and Operation

Nicad Batteries

Lead- Acid Batteries

Rated Storage Capacity

Charge and Discharge

State of Charge

Cycle Cycle Life & Depth of Discharge

Self-discharge

Overcharging and Charge Controllers

Types of Lead-Acid Batteries

Managing and maintaining Batteries

Chapter VI : Charge Controllers and Load Management

Why Charge Controller

The Charge Controller

System Connections

Power Management

Choosing Charge Controllers

Managing Systems without Controllers

Chapter VII : Lamps and Appliances

Lighting Principles

Incandescent and Halogen Lamps

Fluorescent Lamps & Ballast Inverters

Reflection

Choosing the type and Size of Lamp

Appliances

Voltage Converters and Power Conditioning Units

Chapter VIII : Wiring and Fittings

House Wiring Cable

Switches, Sockets and Fuses

Making Connections

Earthing the System

Wire Size, Voltage Drop & Maximum Wire Runs

What is Voltage Drop

Calculating Voltage Drop

Chapter IX : Planning a Small Solar Electric System

Indroduction to the Design Process

Planning Considerations

Worksheet 1 : Total Daily System Energy Requirement

Worksheet 2 : Sizing and Choosing Modules

Worksheet 3 : Battery and Control Selection

Worksheet 4 : Choosing Cables and Fixtures

Chapter X : Installing a Solar Electric System

Installing Tips

Tools and Materials

Safety

Laying Cables

Mounting Solar Modules

Battery and Controller Installation

Testing and Final Connections

User-Training

Chapter XI : Maintaining and Servicing Solar Electric Systems

Routine Maintenance

System Records and Manuals

Trouble-Shooting

Chapter XII : Cost Effective Applications and Users of Solar Electricity

Deciding on Solar Electricity

Comparing the Costs

Practices that Reduce the Cost of Solar Electric Systems

Some Cost Effective Applications of Solar Electricity